## Slide 1: ADM Cal/Val 2015: DAWN and Dropsonde contributions
G. D. Emmitt
Simpson Weather Associates
M. Kavaya
NASA/LaRC
Lidar Working Group Meeting
Miami, 2015

## Slide 2: Polar Winds & ADM Cal/Val Team
Emmitt, Greco and Godwin, SWA
Michael Kavaya, NASA/LaRC
  Grady Koch
Bruce Gentry and H. Chen, NASA/GSFC
John Cassano, CU
Keith Hines, OSU
Dave Winker, NASA/LaRC

## Slide 3: Science (PolarWinds)
Tip Jet
  Two visits; one ideal; the other was confounded by clouds and weaker than model predicted.
Marginal Ice
  Four visits; one failure due to clouds; other two were ideal
Katabatic flows
  Two visits; two ideal
Iceland flow splitting
  One experiment; successful

## Slide 4: Satellite underflights
CALIPSO
  One successful underflight
MODIS
  Six underflights
ASCAT
  Eight underflights (no clouds)
TDS-1
  One underflight with Falcon

## Slide 5: ADM Cal/Val
Shear aloft
  High level jet between Iceland and Scotland
  High level jet along southern east coast of Greenland
Ice surface calibration
  Three segments over the Greenland ice cap
TDS underflight
  1st formation flight with Falcon
ADM stares by DAWN
  Two > 100km legs

## Slide 7
Polar Winds Iceland
Ten Science Flights
2015 May 25
2015 May 13
2015 May 24
2015 May 23
2015 May 21
2015 May 29
2015 May 17
2015 May 16
2015 May 15
2015 May 11

## Slide 8: Mission Summary (51 hours not including ferry hours)
Date | Mission | DC-8 | Falcon | Drops | DAWN | TWiLiTE
5/11 | Iceland flow splitting with NE BL winds | x |  | 3/5 | x | x
5/13 | TDS underflight(DLR/NASA) and Greenland CIZ (NASA) | x | x | 5/6 | X | X
5/15 | Upper level jet between Iceland and Scotland | x | x | 10/12 | X | X
5/16 | ADM cal/val over Greenland ice cap; CIZ and Kat-winds | x | x | 8/10 | X | x
5/17 | CALIPSO, MODIS, ASCAT underflights; CIZ;Tip jet | x |  | 8/9 | X | X
5/19 | Upper level jet over southern Greenland; Tip jet | x | x | 7/8 | X | X
5/21 | Barrier jet | x |  | 7/11 | X | X
5/23 | Katabatic flows off Greenland east coast; ADM cal/val CIZ | x | x | 15/19 | X | 
5/24 | Baffin Strait ice edge west coast of Greenland; rolls | x |  | 11/12 | X | 
5/25 | Upper level jet south of Iceland | x | x | 5/6 | X | X

## Slide 9: Boundary layer work (10,000’)

## Slide 10: 05_15_15 Upper Level Jet

## Slide 12: 05_19_15 Upper Level Jet

## Slide 13: DAWN under performance
DAWN designed for 220mJ and 10Hz was operated at 100mJ and 5 Hz during Campaign II based upon system performance analyses conducted at LaRC between Campaigns I and II.
While the wind observations obtained with DAWN are judged to be very reliable, the vertical coverage of the soundings was less than expected based upon designed system capabilities.
DAWN is currently scheduled to undergo an external (Beyond Photonics) evaluation followed by steps to recover the designed performance.

## Slide 14: DAWN comparison with dropsondes
101 Yankee dropsondes were released from the NASA DC-8 during the 10 missions
17 returned no data
All remaining sondes reported useful wind data for most of descent.
Slow mode descents take ~ 10 – 15 minutes (from 19Kft)
Fast mode descents take ~ 5 – 6 minutes
DAWN takes 35 seconds (20 shot) or 115 seconds (100shot) per 5 point scan.
DC-8 moves ~ 7.7 km (20 shot scan) or 25.3 km (100 shot scan)
General conclusion: DAWN and Dropsondes agree quite well.

## Slide 15
DAWN vs Dropsonde
15.05.2915

## Slide 21
Clouds Around 2KM

## Slide 25: Data processing status
Mission summaries
  With model, satellite, pictures, tracks etc. by June 30 (Complete)
DAWN
  SWA complete quicklook processing for all cases by June 30 (Complete)
  NASA/LaRC performance review plots by June 30 (Complete)
  Final DAWN processing for distribution by November 30 (In progress)
TWiLiTE
  First look products by July 15 for priority case(s) (In progress)
Dropsondes
  First tier processing by June 30. (completed 6/15/15) (Complete)
  Final processing by July 30. (not needed)

## Slide 26: Data processing plan FY16
Implement surface return based pointing corrections over ice on a case by case basis.
Finish MatLab coding and evaluation of SWA’s Supervised Search Window and Adaptive Integration Algorithm using Campaign II DAWN and dropsonde data.
Provide “final” DAWN profiles to ESA for use in ADM Cal/Val efforts derived from Campaign II.
Continue special studies
  Ice movement velocity vs. wind and current
  CALIPSO and DAWN comparisons in the presence of clouds given priority
  Rolls over ice, near tip jet and over west coast of Greenland.
  More Polar WRF studies
  Collaborative studies with ESA/DLR

## Slide 27
A
B