## Slide 1: NOAA’s airborne DWL on Hurricane research aircraft: 2015 -2017
G. D. Emmitt, C. O’Handley, J. Zhang, L. Bucci and R. Atlas
Working Group on Space-based Lidar Winds
Hampton, Virginia
21-23 March, 2017

## Slide 2: Outline
Description of the P3DWL
2015 flights
  Instrument performance
  Data studies
2016 flights
  Instrument performance
  Data studies
2017 plans

## Slide 3: Background
Mounted a Doppler wind lidar to the P3 for the first time (P3DWL)
Wind profile data from the 2015 & 2016 seasons:
  TS Erika (1) Forward side-to-side sweep
  TS/Hurricane Earl (3) Conical down and up
  TS Javier (2) Conical down and up

## Slide 5
Problems with the
scanner sticking
led to fixing the
elevation angle of
the beam to 60 degrees
off nadir forward and
programming the azimuth
mirror for 9 step stares
subtending 40 degrees.

## Slide 6
J. Zhang
600 off nadir

## Slide 7
J. Zhang

## Slide 8
J. Zhang
.5

## Slide 9
J. Zhang

## Slide 10
J. Zhang

## Slide 11
J. Zhang

## Slide 12: Erika Case Summary
Wind profile data were collected in Tropical Storm Erika (2015) by a Doppler wind lidar (DWL) successfully installed on NOAA P3 aircraft.
Comparisons between DWL and dropsonde measured vertical wind profiles show good agreement.
The DWL captured the wind asymmetry above 500 m where Doppler radar data were available; the DWL also provided unique observation of boundary layer structure below 500 m with excellent data coverage.
The axisymmetric boundary layer structure of Tropical Storm Erika (2015) is different from that a typical hurricane boundary layer.
The boundary-layer wind asymmetry in Erika is generally consistent with that in hurricane dropsonde composite in shear relative framework.
J. Zhang

## Slide 13
Problems with the
scanner sticking
were fixed for the 2016
season. Scanner was
operated with a 20 degree
off nadir elevation
angle and 12 azimuth
step stares.

## Slide 14
Hurricane Earl – 08/03/2016
L. Bucci

## Slide 15
11
8
2
Hurricane Earl – 08/03/2016
L. Bucci

## Slide 16
8
L. Bucci

## Slide 17
2
L. Bucci

## Slide 18
11
L. Bucci

## Slide 19: Verification– DWL/GPS speed
Color indicates distance in km
5km or less:
y=1.0622*x - 0.6162
n=114
corr=0.9914
y=1.0116*x + 0.5672
n=251
corr=0.9537
L. Bucci

## Slide 20: Verification– DWL/GPS speed
10km threshold
5km threshold
n=1200
y=0.9467*x + 1.4104
corr=0.9235
n=497
y=1.0474*x - 0.4104
corr=0.9680
***Sample from 4 flights (2016): 0802I1, 0803I1, 0803I2, 0809I1
L. Bucci

## Slide 21: Verification -- DWL/GPS direction
n=497
y=0.9851*x + 4.2349
corr=0.9207
***Sample from 4 flights (2016): 0802I1, 0803I1, 0803I2, 0809I1
L. Bucci

## Slide 22: Summary from AOML
What has been done?
  Shown P3DWL obs complement TDR obs
  Qualitatively compared P3DWL obs to dropsonde
  Shown impact in analysis using HEDAS
In progress:
  Quantitatively comparing P3DWL observations to other observing platforms on P3
L. Bucci

## Slide 23: Continued Verification Work
Compare SFMR to lowest DWL measurements (height varies depending scanning pattern)
Compare flight level to highest DWL winds
Comparison profiling code
L. Bucci

## Slide 24: 2017 Season
P3DWL to be flown second half of season
  Target higher (hurricane force) wind speeds for verification
Training for operators (held at HRD) this spring
L. Bucci

## Slide 25: Investigation of the effects of precipitation on DWL wind retrievals
Revival of work done in 2008-2009 using DWL data collected from NRL P3 in TPARC (Western Pacific)
Motion of aerosols and hydrometeors captured in LOS illuminated volumes.
Working in the spectral domain allows us to discriminate between those two contributions.
Four motion contributions that need to be distinguished:
  Horizontal and vertical motion of the aerosols
  Horizontal and vertical motion of the hydrometeors
Emmitt and O’Handley

## Slide 27
Flight leg through center of Earl: TDR observations
Emmitt and O’Handley

## Slide 28
Emmitt and O’Handley

## Slide 29
Emmitt and O’Handley

## Slide 30
Emmitt and O’Handley

## Slide 31: Summary
After 2 seasons of flying on the NOAA P3, the DWL has demonstrated its capabilities to make useful observations within the strong gradient and turbulent environment of tropical cyclones.
The down/up scanning enabled by the side mounted scanner offers perspectives on the aerosol and hydrometeor motions that require advanced processing techniques currently being developed.
New scanning and signal processing algorithms will be evaluated during the 2017 season starting September 1.