
Technology Roadmap for Deploying Operational Wind Lidar
Obtaining Global Operational Wind Profiles
Farzin Amzajerdian (NASA/LaRC)
David Emmitt (SWA)

Bruce Gentry (NASA/GSFC)

Ingrid Guch (NOAA/NESDIS)

Michael Kavaya (NASA/LaRC)
Kenneth Miller (Mitretek Systems)

James Yoe (NOAA/NESDIS)
January 20, 2004
Table of Contents

1. 
Introduction 
2. 
Program Overview

3. 
Benefits and Requirements Tradeoffs 
4. 
Direct Detection DWL

5. 
Coherent DWL

6. 
Hybrid DWL Technology Issues

Appendix A. References
Appendix B. Glossary
Figures
2 
Global Winds Activity Roadmap
5.1
Component and subsystem roadmap - Direct Detection Subsystem
5.2
Laser roadmap - Direct Detection Subsystem
5.3
Optical filters roadmap - Direct Detection Subsystem
5.4a
Telescope roadmap - Direct Detection Subsystem 

5.4b
Pointing technology roadmap - Direct Detection Subsystem 
5.5-1 
Photon counting roadmap - Direct Detection Subsystem 

5.5-2 
Photon efficiency roadmap – Direct Detection Subsystem
6.1 
Laser roadmap – Coherent Subsystem 
6.2 
Scanner roadmap – Coherent Subsystem
6.3
Tunable local oscillator laser roadmap – Coherent Subsystem
6.4 
Photon efficiency roadmap – Coherent Subsystem
6.5
Autoalignment roadmap – Coherent Subsystem
6.6
Pointing roadmap– Coherent Subsystem
Tables

3
Requirements candidates for tradeoff study

5.2
Laser performance objectives – Direct Detection Subsystem
5.3
Optical filter performance objectives – Direct Detection Subsystem
5.5
Photon counting detector performance objectives – Direct Detection Subsystem

1. Introduction
The need to for accurate, timely, and comprehensive global wind measurements is widely acknowledged. The Integrated Program Office (IPO)
 which oversees the National Polar-orbiting Environmental Satellite System (NPOESS) identifies accurate direct measurement of wind velocity profiles as the greatest unmet observational need to improve global weather forecasts. The IPO’s environmental data priorities reflect those of a broad national spectrum of users.
Technology advances are needed in lasers, detectors, low-mass telescopes, scanners, and momentum compensation to meet the published requirements. The GTWS reference designs required space-qualified lasers well beyond today’s capabilities, large and heavy spacecraft, massive optical components, and very high electrical power consumption. Scanning and momentum compensation requirements are challenging. Three alternative DWL approaches are considered: direct detection, coherent detection, and hybrid detection. Each has unique advantages. 
Hybrid DWL, combining coherent and direct detection subsystems, may make instrument development more tractable. The improvement is in the form of reduced demands on the DWL subsystems as compared to a coherent-only or direct detection-only instrument. The reduced subsystem performance requirements can be spread out end-to-end to optimize system design, affecting DWL laser power, telescope, optical efficiency, and detection. The results should reduce spacecraft mass, energy, and momentum compensation challenges. The current estimates for improvement factors are:
· Coherent Subsystem: 15 to 30 times
· Direct Detection Subsystem: 4 to 8 times
However, the hybrid instrument will complicate some mission and spacecraft issues because of the need to accommodate two complicated subsystems. 
The IPO has sponsored a hybrid DWL feasibility study. NASA and industry activities are addressing high-powered flight-qualified lasers. Analysis of data requirements vs. benefits is recommended to identify any relaxation of data requirements that may reduce critical technology demands without excessive reduction of benefits.
Background

In October 2001, NOAA and NASA published draft global wind data requirements
 and are exploring how these requirements might be satisfied. DOD is considering whether tactical military wind data requirements can be addressed as part of the same enterprise. Other government agencies and commercial interests have expressed needs for wind data.

Reliable wind data are presently available over North America, Europe, and other developed areas. They are obtained primarily by rawinsondes launched at 6 or 12 hour intervals from fixed stations. Wind profiles are also collected over the United States during aircraft ascent and descent at major airports,
 providing flight level winds, but not profiles, along the paths connecting the same airports. Still, wind profiles are unavailable or inadequate over much of the oceans, tropics, and Southern Hemisphere. 

The instrument class most likely to provide the required global wind profile data is the active remote sensors known as Doppler Wind Lidar (DWL) systems. Technology advancements are required before DWL can meet documented data requirements from space. 
Interagency planning and commitment of resources and personnel are needed for a program to deploy an operational wind mission. This program will define and advance key technology areas, demonstrate new capabilities in laboratories, then surface-based, airborne, and finally space-based lidar systems, ultimately enabling deployment of an operational wind lidar mission.

Purpose and Scope 

This paper outlines a technology roadmap to achieve mature technology and reduce technical risk for deploying DWLs to meet published data requirements. 
Three DWL instrument approaches are considered (direct detection, coherent detection, and hybrid), with a technology roadmap for each. 
The roadmaps in this paper are based on the hybrid approach. The hybrid approach encompasses the technology and roadmaps of the other two, and because it promises to reduce the most challenging lidar operating parameters, although at the cost of increased spacecraft and launch complexity.
For each alternative, technology development is needed in lasers, detectors, telescope, scanner, and momentum compensation.
2. Program Overview

This paper anticipates that participating agencies will prepare and execute a long term plan for providing funding, staff, and other resources. This plan would advance critical technology areas and demonstrate capabilities in the laboratory, in ground observatories, on aircraft, and in space. 
High level activities and dependencies are shown in Figure 2. When technology readiness and architecture are capable of meeting data requirements, the program will advance to space demonstration and then to an operational mission.  

Some key instrument developments, such as flight qualified lasers and electro-optic scanners, may have long lead times. 
Figure 2. Activities leading to operational wind lidar

[image: image23.jpg]



The Data Requirements and Tradeoffs activities will quantify benefits, assess sensitivity of benefits to data specifications, develop DWL wind data assimilation techniques, and publish a revised data specification if justified. 

The activity to Achieve Technology Readiness will advance capabilities in lasers, detectors, low-mass telescopes, scanners, momentum compensation, and other critical areas.
The Architecture activity will advance end-to-end systems engineering and architecture specifications to ensure that the data specifications are met in operations and to support acquisition.
Ground and Airborne Demonstration will test and demonstrate prototype subsystems, architecture, calibration, validation, and data products in a range of atmospheric conditions.

Space Demonstration will demonstrate the capability of the selected DWL instrument to meet data requirements from orbit. The platform may be the shuttle, the International Space Station, a DOD Space Test Program mission, or other platform.

The Operational Mission will acquire, launch, and operate the instrument, spacecraft, communications, operations center, data production facility, and other activities required to produce and distribute data products. A second instrument may be launched if required to meet temporal and spatial resolution requirements. 
3. Benefits and Requirements Tradeoff Studies

Since lidars to meet the data requirements from space exceed the state-of-the-art, trade studies are needed between data requirements and societal benefits. The data requirements are based on needs of users concerned with weather prediction and atmospheric science, with limited input from those who design or acquire the corresponding hardware. Requirements will be searched for opportunities to reduce technology risk without incurring unacceptable impact on benefits. 
Observing System Simulation Experiments (OSSEs) have been used to quantify potential benefits from wind observations in NASA and NOAA numerical weather forecast models. OSSEs can be used to evaluate potential modifications of data requirements. Development of new data assimilation methods for wind observations will be part of this activity.
For each data requirement, two questions may be explored:

1. Does the requirement drive technology beyond the state-of-the-art?

2. If so, can the requirement be relaxed without unacceptable benefit degradation?

If relaxation is justified, then a new version of the data requirements may be published. 
Table 3 shows a preliminary list of requirements that drive the technology development and are candidates for further study.

Table 3. Requirements candidates for tradeoff study
	Requirement

(current threshold requirement)
	Technology Risk Impacts
	Mechanism

	Vertical TSV Resolution (1 km)
	Laser, detector, telescope
	Increasing vertical TSV
 dimension increases photon accumulation

	Horizontal TSV

Dimension (100 km)
	Laser, detector, 

telescope, scanner
	Increasing horizontal TSV dimension, combined with relaxing horizontal resolution would allow more shot accumulation and simplify scanner

	Horizontal Resolution -Along Track (350 km), 
	Laser, detector, 

telescope, scanner
	Increasing beyond 350 km increases time for shot averaging and scanner movement

	Horizontal Resolution –Cross-Track (4 lines)
	Laser, detector, 

telescope, scanner
	Less Cross-Track observation lines increases time for shot accumulation and scanner movement

	2 discrete perspectives in TSV
	Scanner
	Consider non-discrete method, e.g., conical scan 

	Wind Velocity Accuracy
	Laser, telescope, detector
	Reduced accuracy reduces laser, optics, and detector requirements


4.  Architecture Studies
Systems engineering and architecture studies are needed to guide technology development. Early studies include: 

· Develop a reference design for a hybrid lidar instrument and mission

· Perform trade studies among DWL alternatives and determine a course of action
· Determine how atmospheric properties, DWL alternatives, and spacecraft mechanics impact science data products

· Develop a calibration and validation approach
Selection of a DWL alternative is a major program decision. Reference designs for both direct and coherent detection resulted in large, expensive instruments that require significant technology advances. This has increased interest in a hybrid DWL that uses both direct and coherent detection. Hybrid may be the optimum solution, reducing cost, time, and risk. The hybrid technology roadmap is consistent with the combined roadmaps for direct and coherent, with the addition of developing shared technology, shared scanner, shared (or multiple) spacecraft and launch.

Hybrid DWL addresses the key technology challenges of lasers, detectors, telescopes and pointing by using coherent and direct lidars for different parts of the atmospheric depth of regard, for regions where they individually perform best. Coherent lidar performs better in parts of the atmosphere where direct detection lidar is weakest and vice versa. For either direct or coherent lidar alone to meet GTWS requirements, laser power, optics, and pointing are driven by conditions in the most challenging parts of the altitude range. Hybrid DWL promises to reduce technology demands on both. While use of two lidars instead of one adds some complexity, it also reduces the most serious technology challenges. The goal of hybrid DWL is to develop shared technology, scanners, spacecraft, and launch capability to reduce mission risk, cost, and time to launch date.

A Doppler Lidar Simulation Model has been used to simulate performance of different DWL concepts and prepare data product performance profiles.
 Similar studies can verify effects on data products resulting from design alternatives, atmospheric variations (e.g. clouds, aerosol distributions, turbulence, jets, etc.), spacecraft mechanics (e.g. jitter, pointing error, etc.), and other variables.
Calibration and validation of an orbiting wind profiling instrument will be challenging. Methods are needed to check the orbiting DWL observations against independent observations to assure their validity. Since wind profiles can vary rapidly with time and position, new methods will be required.   

5. Direct Detection Roadmap
This roadmap discussion is based on target performance for the direct detection subsystem of a hybrid DWL. The roadmap activities for a DWL using only direct detection would be the same, but the performance targets are much more challenging.

Direct detection DWL measures wind profiles by transmitting a single frequency laser pulse (355 nm for molecular channel, 1064 nm for aerosol channel in the current point design) and measuring the Doppler shift due to the wind within range-gated altitude bins. Detected signal strength is proportional to the backscatter intensity (or number of photons) of the target altitude bin. High spectral resolution optical filters measure Doppler shifted frequency. Backscatter from aerosols or air molecules (or both) can be used, with molecular backscatter being the stronger signal. Two types of direct detection receivers are actively being tested, Fringe Imaging detection and Double Edge detection. Laser shots are accumulated to increase signal to noise ratios. 

The NASA LRRP, funded by Code Y and Code R in 2002, is working to advance the critical laser technology. 
Roadmap status shown in the following figures is as of early to mid 2003.

5.1 Roadmap for the Direct Detection Subsystem of a Hybrid DWL
Development begins with component technology improvements, followed by subsystem development, and then demonstration through field measurements, as shown in figure 5.1. Proven components and subsystems will then be incorporated into prototypes for ground, airborne, and space testing, as appropriate. 

5.2 Direct Detection Subsystem Laser

The performance objectives for the direct detection subsystem laser are shown in Table 5.2. A technology roadmap in Figure 5.2 shows the development sequence and dependencies. The approach will utilize well developed, injection seeded, diode pumped Nd:YAG laser technology and focus development on efficiency, conductive cooling, and lifetime. The product will be tested in ground and airborne testbeds. Today a space qualified laser in GLAS delivers about 4% wallplug efficiency. TRW has demonstrated an efficient 100 W, all solid state, ruggedized laser.

Figure 5.1. Component and subsystem roadmap - Direct Detection Subsystem

[image: image2]
Table 5.2. Direct detection subsystem laser performance objectives 

	Material
	All solid state

	Pulse characteristics 
	1064 nm

1 to 3 J 

20 ns pulse length

10-100 Hz 

< 200 MHz bandwidth @ 355 nm

> 35% harmonic conversion to 355 nm

	Lifetime
	> 5x109 shots

	Mass
	Low (tbd)

	Power
	Low (tbd)

	Wallplug efficiency
	6 to 8%

	Cooling
	Conductive


Figure 5.2. Laser roadmap – Direct Detection Subsystem

[image: image3]
Milestone 1. 
TRW CAPPSL and Zephyr design study; SBIR Phase II studies (Fibertek, CEO, Litecycles, QPeak)

Milestone 2. 
GLAS, CALIPSO flight laser programs

Milestone 3. 
LRRP (NASA’s Laser Risk Reduction Program)
5.3 Direct Detection Subsystem Optical Filters

Optical filter performance objectives for the direct detection subsystem of a hybrid DWL are shown in Table 5.3 and a technology roadmap in Figure 5.3. The approach will use a capacitance stabilized piezoelectrically tunable Fabry-Perot etalon with prefiltering. Other technologies will also be assessed. Double Edge and Fringe Imaging filters are being demonstrated today in ground based lidar wind measurements. Capacitance stabilization is being used in space in UARS. A scalable engineering model was demonstrated in the CALIPSO program by MAC. The product will be tested in ground and airborne testbeds.

Table 5.3. Optical filter performance objectives – Direct Detection Subsystem
	Bandwidth
	100 to 1500 MHz

	Wavelengths
	355 nm and 1064 nm

	Peak transmission
	>70%

	Tunability to compensate for spacecraft velocity
	1 ms response time

Frequency repeatability 6 x 10-10 (0.1 m/s)

	Mass
	Low (tbd)

	Power
	Low (tbd)

	Active alignment stabilization
	Support long term unattended operations (tbd)


Figure 5.3. Optical filters roadmap – Direct Detection Subsystem

[image: image4]
Milestone 1. 
Michigan Aerospace/GroundWinds HI; Zephyr Engineering Model

Milestone 2. 
GroundWinds HI; NASA GLOW

Milestone 3. 
Zephyr Engineering Model demonstrated 3 ms tuning

Milestone 4. 
DE; HRDI; MAC CALIPSO prefilter
5.4 Direct Detection Subsystem Telescope/Scanner

The performance objective is to meet telescope, scanning, and pointing requirements as derived from the GTWS data requirements through minimizing telescope mass and developing new scanning and momentum compensation mechanisms. Performance requirements are shared with coherent detection except for round trip boresight requirements. The approach is to explore composite optics, deployables, holographic or diffractive optical elements, and other innovative techniques. A technology roadmap is shown in Figures 5.4a and 5.4b. 

Figure 5.4a. Telescope Roadmap - Direct Detection Subsystem

[image: image5]
Figure 5.4b. Pointing technology roadmap – Direct Detection Subsystem

[image: image6]
Milestones: 
None completed

5.5 Direct Detection Subsystem Photon Counting Detectors

The performance objectives are shown in Table 5.5. Technology roadmaps are shown in Figures 5.5-1 and 5.5-2. The approach is to improve photocathode materials at 355 nm and to develop new solid state photomultiplier tube (PMT) photon counting detectors and arrays (e.g. CCD, microchannel plate, APD arrays). Space-qualified single-element PMTs are available with > 30% quantum efficiency photocathodes at 355 nm (Hammamatsu). Perkin Elmer developed an enhanced quantum efficiency Si APD photon counting module for GLAS.  
Table 5.5. Photon counting detector performance objectives – Direct Detection Subsystem
	Quantum Efficiency
	High (>30%)

	Internal Noise (dark current, read noise)
	Low (tbd)

	Internal Gain
	High (tbd)

	Dynamic Range
	>100 MHz count rate to accommodate clouds, ground return

	Cooling
	No cryogenic cooling

	Stability and life
	Compatible with long term operation in space environment


Figure 5.5-1. Photon counting roadmap – Direct Detection Subsystem

[image: image7]
Milestone 1: Commercially available, e.g. Hammamatsu

Milestone 2: GroundWinds NH, HI

Milestone 3: NASA GLOW
Figure 5.5-2. Photon efficiency roadmap – Direct Detection Subsystem

[image: image8]
Milestone 1: MAC/GroundWinds demonstrated fiber recycler concept

Milestone 2: Discrete component system efficiency measured – NASA GLOW; GroundWinds

6. Roadmap for Coherent DWL Subsystem Elements for Hybrid DWL
This discussion is based on target performance for the coherent subsystem of a hybrid DWL. The activities would be the same for a DWL using only coherent detection, but the performance targets would be much more challenging. Coherent DWL subsystem development will improve:

· Pulsed laser

· Scanner

· Tunable local oscillator laser

· Photon efficiency 

· Autoalignment 

· Pointing technology

Coherent DWL measures wind profiles by transmitting a laser pulse and measuring the average backscatter Doppler frequency shift within range-gated altitude bins using a coherent (optical heterodyne) receiver. Shot averaging is used to increase signal to noise ratios. Photons are scattered from atmospheric molecules and aerosols, with aerosol backscatter being the stronger. 

The coherent DWL reference design is sensitive to pointing angle, requiring 2 microradian pointing accuracy over the round trip time from orbit. In the reference design, a step and stare scanning mechanism rotates the entire telescope, presenting pointing and jitter challenges in spacecraft design. 

The key technology challenges (lasers, detectors, telescope, scanner, and momentum compensation) apply to coherent DWL. Technology readiness is low for vital components. 
Coherent DWL has an extensive heritage. The MACAWS coherent DWL experiment flew on a NASA DC-8 aircraft in 1996. MACAWS used aircraft turns to simulate a conically scanning DWL and processed vertical wind profiles. Space Readiness Coherent Lidar Experiment (SPARCLE) was a New Millennium Program mission. It was being developed at the NASA Marshall Space Flight Center to test wind measurement from the Space Shuttle. The program was cancelled after completion of the Preliminary Design Review. LaRC scientists have extensive experience derived from SPARCLE, and also from ground-based DWL wind measurements. LaRC operates a mobile DWL.

Performance prediction for a coherent DWL requires assumptions about aerosol and cloud distributions. Velocity error is quite low above a threshold signal to noise ratio.

The NASA LRRP, funded by Code Y and Code R in 2002, is working to advance the critical laser technology.  An Advanced Lidar Technology Project (ALTP) was formed in 2002 at LaRC. Its charter includes developing lidar technology; assembling a team with end-to-end lidar expertise (theory to hardware to field deployment); collaborating with industry, academia, and government; validating technology to reduce risk of space missions; and transferring technology to industry. Principal investigators are Upendra Singh, Michael Kavaya, and Farzin Amzajerdian. Activities include lidar development using a 2-micron laser source, solid state thulium lasers, 792 nm laser diodes, and optical parametric oscillator wavelength conversion (UV and IR).

Roadmap status shown in the following figures is as of early to mid 2003.

6.1 Coherent Subsystem Pulsed Laser

The lidar pulsed laser target is 0.5 Joules, 12 Hz, conductively cooled, with a lifetime of 5 years. The laser roadmap is shown in Figure 6.1.
Figure 6.1. Laser roadmap – Coherent Subsystem

[image: image9]
6.2 Coherent Subsystem Scanner 
The target coherent DWL scanner is a 50 cm telescope with rapid step/stare pointing capable of meeting GTWS requirements. The scanner technology roadmap is shown in Figure 6.2.
Figure 6.2 Scanner roadmap – Coherent Subsystem 

[image: image10] 
6.3 Coherent Subsystem Tunable Local Oscillator Laser

The target coherent DWL tunable local oscillator provides 25 mW of power with ±6 GHz tuning range and less than 10 kHz/ms drift. The tunable local oscillator laser technology roadmap is shown in Figure 6.3.
Figure 6.3 Tunable local oscillator laser roadmap – Coherent Subsystem 

[image: image11]
6.4 Coherent Subsystem Photon Efficiency Technology

The coherent DWL target efficiency is 12% lidar system (photon) efficiency. The technology roadmap is shown in Figure 6.4.

Figure 6.4. Photon efficiency roadmap – Coherent Subsystem 


[image: image12]
6.5 Coherent Subsystem Autoalignment Technology

Target performance for auto-alignment technology will depend on the instrument design and platform. For the ISAL/IMDC concepts, scaled to a 50 cm diameter telescope for the hybrid system, autoalignment must keep lidar components (before the telescope) aligned within 50 to 100 microradians. Telescope and scanner alignment tolerances reduce in proportion to the beam size, e.g. for a 50X telescope, the beam alignment requirement at the telescope output is 50X smaller (50 microradians/50= 1 microradian).  Further, any angular or displacement misalignments of telescope mirrors will degrade beam quality and reduce SNR.

Autoalignment top-level performance requirements can be described by two parameters:

· Angular misalignment (say 50 microradians within the lidar instrument)
· Wavefront quality, which is a function of the telescope alignment

The autoalignment system must keep the telescope wavefront quality to better than 1/15 wave RMS at 2 micron wavelength or 1/5 wave RMS at 632 nm.

The technology roadmap is shown in Figure 6.5. 

Figure 6.5. Autoalignment roadmap – Coherent Subsystem 


[image: image13]
6.6 Coherent Subsystem Pointing Technology

The pointing target performance is 0.2 degrees pre-shot pointing knowledge and 50 µrad final pointing knowledge. The technology roadmap is shown in Figure 6.6. 

Figure 6.6. Pointing roadmap – Coherent Subsystem 

[image: image14]
7. Hybrid DWL Roadmap
Hybrid DWL addresses the key technology challenges of lasers, detectors, telescopes and pointing by using coherent and direct lidars for different parts of the atmospheric depth of regard, for regions where they individually perform best. Hybrid DWL may be the optimum solution, reducing cost, time, and risk to achieve operational global wind observations. The hybrid technology roadmap is consistent with the combined roadmaps for direct and coherent, with the addition of developing shared technology, shared scanner, a shared spacecraft, and launch.

Beyond issues already discussed for the coherent and direct detection subsystems, the two must be combined into an operational hybrid system. Studies are recommended to develop hybrid reference designs that integrate and deploy coherent and direct detection subsystems.

8. Summary and Recommendations
Some pre-operational development activities are underway, others can begin at an early date. Near term activities include architecture studies, requirements and benefits trades, technology readiness activities, conceptual design, and planning. 
The technology readiness activity contribute to a number of future lidar missions in addition to wind.

References

F. Amzajerdian, R. Atlas, W. Baker, J. Barnes, D. Emmitt, B. Gentry, I. Guch, M. Hardesty, M. Kavaya, S. Mango, K. Miller, S. Neeck, J. Pereira, F. Peri, U. Singh, G. Spiers, J. Yoe, “Global Tropospheric Wind Sounder (GTWS) – A Strategy for Obtaining Operational Wind Profiles from Space”, 20 June 2003
M. Kavaya, F. Amzajerdian, U. Singh, J. Yu, D. Emmitt, “Technology Plan for the Coherent Subsystem of a Space-Based Hybrid Doppler Wind Lidar,” 16 July 2002
B. Gentry, M. McGill, B. Rye, D. Emmitt ,“Technology Assessment Studies in Support of GTWS by the TAT Direct Detection Subcommittee Members”, 18 September 2002

M. Kavaya, “Coherent Lidar: Factors of Two Among Friends”, 3 July 2002

F. Amzajerdian, M. Kavaya, U. Singh, “Status of Advanced Lidar Technology Project at NASA/LaRC”, Meeting of the Working Group on Space-Based Lidar Winds, 15-18 July 2002

F. Amzajerdian, “Analysis of Optimum Heterodyne Receivers for Coherent Lidar Applications”, 21st International Laser Radar Conference, Quebec City, Quebec, Canada, 8 July 2002

F. Peri, “GTWS Technology Roadmap”, 20 September 2002

M. Kavaya, P. Flamant, “Intercomparison Of Lidar Winds To Other Sensors”, 22 October 2002 (See Appendix A)

M. Kavaya, D. Emmitt, R. Frehlich, F. Amzajerdian, U. Singh, “A Space-Based Point Design for Global Coherent Doppler Wind Lidar Profiling Matched to the Recent NASA/NOAA Draft Science Requirements”, 16 August 2002
G. Koch, F. Amzajerdian, M. Kavaya, U. Singh, M. Petros, B. Barnes, “Development of Mobile Validation Lidar Facility at NASA/LaRC”, 16 August 2002

D. Emmitt, S. Wood, “Hybrid DWL: Simulations of Expected Data Products for Use in OSSEs”, Lidar Working Group Meeting, July 2002
Glossary

ACARS
ARINC (Aeronautical Radio Incorporated) Communications Addressing and Reporting System 

ALTP
NASA’s Advanced Lidar Technology Program 

DOC
Department of Commerce

DOD
Department of Defense

DWL
Doppler Wind Lidar

FAA
Federal Aviation Administration

GLAS 
Geoscience Laser Altimeter System mission

GroundWinds 
Ground based lidar observatory program, sponsored by NOAA, operated by University of New Hampshire

GroundWinds-HI 
GroundWinds project in Hawaii

GroundWinds-NH 
GroundWinds project in New Hampshire

GSFC
Goddard Space Flight Center (NASA)

GTWS
Global Tropospheric Wind Sounder

IMDC
Integrated Mission Design Center at GSFC

IPO 
NPOESS Integrated Program Office, established to develop, acquire, operate, and maintain NPOESS. IPO organizationally resides within the Department of Commerce (DOC) National Oceanic and Atmospheric Administration (NOAA) National Environmental Satellite, Data and Information Service (NESDIS) and is staffed with personnel from the Department of Defense (DOD), DOC, and the National Aeronautics and Space Administration (NASA).
ISAL
Instrument Synthesis and Analysis Laboratory (NASA GSFC)

JPL
Jet Propulsion Laboratory

LaRC
Langley Research Center (NASA)
Lidar
Light Detection and Ranging
LRRP 
Laser Risk Reduction Project

MAC 
Michigan Aerospace Corporation

MACAWS
Multi-center Airborne Coherent Atmospheric Wind
Sensor
NASA
National Aeronautics and Space Administration

NESDIS
National Environmental Satellite, Data and Information Service
NOAA
National Oceanic and Atmospheric Administration

NPOESS
National Polar-orbiting Environmental Satellite System

OSSE 
Observing System Simulation Experiment

SBIR 
Small Business Innovation Research program

SNR 
Signal to Noise Ratio

SPARCLE
Space Readiness Coherent Lidar Experiment

SWA 
Simpson Weather Associates

TBD
To be determined

TSV 
Target Sample Volume

UNH 
University of New Hampshire

UV 
Ultra violet

VCL 
Vegetation Canopy Lidar mission

WOS/H 

Wind Observing Satellite/[image: image1]














































































































































































































































































































































































































































































































































































2





Advanced concepts (e.g. deployables)





Lightweight Materials





3





In Progress





1





Milestone





Completed Item





Primary Path


Secondary Path





1























Airborne Lidar Validation





Ground Lidar Validation





Space Operational Mission





Space Lidar Demonstration





Rotating HOE or DOE Telescope/Scanner





Mechanical Rotating Telescope/ Scanner





Launch





Develop


Operational


Mission





Space


Demonstration





Architecture


Studies





Ground & Airborne


Demonstrations





Achieve


Technology


Readiness





Data 


Requirements


& Tradeoffs

















Telescope-to-Optical Bench Alignment Sensor





Progress Mark





Completed Item





Surface Return Algorithm





Star Tracker





Ground Lidar Validation





Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





INS/GPS





Primary Path


Secondary Path





In Progress























Alignment Algorithm





Progress Mark





Completed Item





Wavefront Sensor And Corrector





Detector Array





Ground Lidar Validation





Ground Lidar Validation





Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





Alignment Controller & Mirror Actuator





Primary Path


Secondary Path





In Progress

















Progress Mark





Completed Item





Low-Aberration Thermally-Stable Large Optics





Ground Lidar Validation





Ground Lidar Validation





Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





Discrete Components





Integrated Balanced-Detectors Receiver





Primary Path


Secondary Path





1





2





In Progress





1





Milestone





Completed Item











Primary Path


Secondary Path





Contamination





High energy UV exposure





Radiation exposure





Long term alignment

















Lightweight Thermally-Stable Large Optics











Lab Characterization and Validation





Ground Lidar Validation





Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





Discrete Components, Optics, Coatings and Materials





Photon Recycling Technologies





2











Geom.Form Factor Matching Optics ( e.g. CLIO, Holo C2L)





3





1





New 1D, 2D arrays (e.g. APD, MCP)





Improved photocathode materials (e.g. GaN)











In Progress





1





Milestone





Completed Item











Primary Path


Secondary Path

















Solid state CCD Detector Array





Ground Lidar Validation





Ground Lidar Validation





Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





High QE, low noise PMT





In Progress

















Progress Mark





Completed Item





Airborne Lidar Validation





Ground Lidar Validation





Primary Path


Secondary Path





Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





Ground Lidar Validation





Crystal Tunable LO Laser





Semiconductor Tunable LO Laser





In Progress











Airborne Lidar Validation





Progress Mark





Completed Item











Airborne Lidar Validation





Ground Lidar Validation





Primary Path


Secondary Path





Space Operational Mission





Space Lidar Demonstration





Ground Lidar Validation





Electro-Optic Scanner





Rotating Wedge Scanner





Rotating Telescope Scanner





In Progress











Progress Mark











Ground Lidar Validation





Completed Item





Airborne Lidar Validation





Ground Lidar Validation





Primary Path


Secondary Path





Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





Ground Lidar Validation





All Conductively-Cooled 2-Micron Laser





All Liquid-Cooled 2-Micron Laser





Partial Conductively-Cooled 2-Micron Laser





In Progress





1





Milestone





Completed Item











Primary Path


Secondary Path





Target:


0.2 deg pre-shot pointing knowledge


50 rad final pointing knowledge

















Telescope-to-Optical Bench Alignment Sensor





Surface Return Algorithm





Star Tracker





Ground Lidar Validation





Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





INS/GPS





In Progress





1





Milestone





Completed Item





4























3





2





1





 Alternative filter designs?


(2 beam interferometers; atomic vapor filters)

















Ground Lidar Validation





Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





Ground Lidar Validation





Capacitively Stabilized FP Etalon 





Tunable for Doppler motion compensation





Tunable for laser freq tracking





Primary Path


Secondary Path











LRRP





3











Materials testing (radiation, uv exposure, optical damage )





Thermal Management





Non-linear optics testing





Diode array


life test/qualification





2





1











In Progress





1





Milestone





Completed Item











Primary Path


Secondary Path











Space Operational Mission





Space Lidar Demonstration





Airborne Lidar Validation





Ground Lidar Validation





Flight Qualified All Conductively-Cooled 1-Micron Laser





Single frequency, 30W, frequency tripled, partially Conductively-Cooled 1-Micron Laser











Single frequency lasers





Novel receiver optics





1. Measurement heritage/experience


2. Algorithm development 


3. Evaluate atmospheric effects


4. Link technology performance to 


    science product - winds


5. Develop robust instrument models





1. Evaluate subsystem designs/ concepts


2. Interface issues/answers


3. Environmental sensitivities





1. Evaluate components


2. Establish performance criteria/


    specs





Doppler lidar receivers





Field measurements





Fiber coupled telescopes





Holographic scanners





Photon counting detectors





Tunable etalon filters





Subsystems





Component Technologies 





In Progress








� The IPO resides within the Department of Commerce’s (DOC) National Oceanic and Atmospheric Administration (NOAA) National Environmental Satellite, Data and Information Service (NESDIS) and is staffed with personnel from the Department of Defense (DOD), DOC, and the National Aeronautics and Space Administration (NASA).


� For more information, see � HYPERLINK "http://nais.msfc.nasa.gov/cgi-bin/EPS/synopsis.cgi?acqid=99220" ��http://nais.msfc.nasa.gov/cgi-bin/EPS/synopsis.cgi?acqid=99220�


� Wind data promises to support the missions of the National Oceanic and Atmospheric Administration (NOAA), the National Aeronautics and Space Administration (NASA), Federal Aviation Administration (FAA), Federal Emergency Management Agency (FEMA), Department of Defense (DOD), and the Department of Homeland Security (DHS).


� Instrumented by the ARINC (Aeronautical Radio Incorporated) Communications Addressing and Reporting System (ACARS)


� Target Sample Volume (TSV) is the maximum volume of atmospheric motion to which sample averaging is to be limited for the expression of a single wind observation.


� D. G. Emmitt, Simpson Weather Associates (SWA)





PAGE  
27

[image: image15.png]


[image: image16.jpg]


[image: image17.jpg]


[image: image18.png]


[image: image19.jpg]


[image: image20.png]Altitude (km)

35

30

25

20

15

10

Molectlar Doppler Lidar Winds
November 17, 1999 22:30 EDT

Sonde
Lidar (1km)
Lidar (0.18 km)

Altitude (km)

35

30 {[—o— sense
—— Lider (1km)
—o— Lidar (018 km)

25

20

15

10

20 30 40 50

Speed (mis)

60

0 60 120 180 240 300 380
Direction (deg)



[image: image21.jpg]


[image: image22.png]


